## Slide 1: Relative Individual DOM Efficiency
Summary of Sofus Stray’s project
12/03/2021
Calibration Call
Relative Individual DOM Efficiency

## Slide 2: Motivation
DOM charge response in situ does not precisely match laboratory charge response
Calibration of in situ charge response needed when simulating DOMs
We want to calibrate Relative Individual DOM Efficiency (RIDE)

## Slide 3: Motivation
Previously showed agreement with theory on 2012 simulation
  Uses iceprod1
  No anisotropy
Current goals: Get consistent RIDE values on 2016 simulation
  Uses spice3.2
  Includes anisotropy

## Slide 4: RIDE
Initial Expectations: NQE DOMs have RIDE value of 1, HQE of 1.35
Monitor definition based on 10m-bin spacings in the z-axis

## Slide 5: Particle light sources
The RIDE assumption only works for well modelled particle sources
In this study we focus on minimum ionizing muons
  Known stopping point
  Known energy
  Constant light source
Approximate with stopped muons
SMT8 filter
Track endpoint.z > -400m
Track endpoint.xy > 100m from detector edge
DOM radius from track filter

## Slide 6: 2012 results
NQEs not quite at 1.0, HQEs still have gradient
Overall mean and std within expectations
0m < r < 130m

## Slide 7: Initial 2016
No gradient
HQE mean below expectations
0m < r < 130m

## Slide 8: Icelayer binning
Icelayer groups

## Slide 9: Z-binning vs icelayers
Z-binning
Tilted Icelayers
0 < r < 75

## Slide 10: Group analysis
Pick three separate groups in DeepCore
Find radius from track corresponding to 1.35

## Slide 11: Group analysis

## Slide 12: RDE in CLSim
CLSim HQE λ-acceptance
13/02/2019 - Summer

## Slide 13: RDE factor

## Slide 14: eff_f2k factor divided out
Z-binning
Icelayers
0 < r < 75

## Slide 15: Group analysis

## Slide 16: Updated 2016
Less scatter below dust layer
HQE mean at expectations
10m < r < 125m

## Slide 17: Change of focus
Minimize HQE RIDE spread
Drop chase of 1.35 (for now)
standard deviation of mean RIDE of each group
max standard deviation between DOMS in all groups
Goal: Agreement between groups, make sure stddev is not too high
,

## Slide 18: Group analysis 2

## Slide 19: Group analysis 2

## Slide 20: Next steps
Confirm RDE factors
Attempt further constraint on
Full detector plots
Move to reconstruction