## Slide 1: Neutron reflectivity’s day
Today you will learn about specular scattering and non-specular scattering.
Scattering length and contrast matching in Soft Matter.
Theory of Reflection.
Optics apply to Light, Neutrons and X-rays are all waves. Reflect over the different information that can be extracted from each of these waves
Learn to read a reflectivity curve.
Some cases in neutron reflection.
Tommy Nylander
LU
Hanna Wacklin
ESS
Marité Cárdenas
KU

## Slide 2: What is reflectivity?
Reflectivity refers to the fraction of incident radiation (amplitude) that is reflected by a surface.
Why is reflectivity interesting for us?
Reflectivity reveals interfacial structure
Layer thickness
Layer composition
In plane structure
air-water
air-solid
solid-liquid

## Slide 3: Light, X-rays and Neutrons can be treated as waves: Same principles apply to any of them!
What are the advantages of X-rays and neutrons over light?
x-rays and neutrons have much shorter wavelength than light -> they can explore much smaller spacing (of the order of molecular dimensions).

## Slide 4
Taken from http://rktchem..ox.ac.uk/research.html
Notes: Roughness makes reflectivity fall off faster than q4

## Slide 5
Taken from http://rktchem..ox.ac.uk/research.html
Notes: Roughness makes reflectivity fall off faster than q4

## Slide 6
Taken from http://rktchem..ox.ac.uk/research.html
Notes: Roughness makes reflectivity fall off faster than q4

## Slide 7
Taken from http://rktchem..ox.ac.uk/research.html
Notes: Roughness makes reflectivity fall off faster than q4

## Slide 8: Or take advantage of radiation wavelength
qz = 4 p/ l * sinθ
Neutrons do have different energies, right?

## Slide 10
Taken from http://rktchem..ox.ac.uk/research.html
Notes: Roughness makes reflectivity fall off faster than q4

## Slide 11
Taken from http://rktchem..ox.ac.uk/research.html
Notes: Roughness makes reflectivity fall off faster than q4

## Slide 12
And this is how it goes when you work in our field

## Slide 13: If things were just so easy… have you forget about the phase problem in scattering?

## Slide 14: The refractive index
The real part can be expressed as:
n = 1 – l2/2π * ρ
For X-ray,
For Neutron,
ρ= Σ ni fi e2 / mc2
ρ= Σ ni bi
ni is the number density for the nuclear specie i
bi is the scattering length of nuclear specie i
fi is the atomic factor for specie I
Notes: FOR X RAY ----- the SlD is directly proportional to the atomic factor and thus to the number of electrons in the atom (atomic number)
Rho is called ELECTRON NUMBER DENSITY
SLD is neutrin is the product between the atomic number density and the atomic scattering factor
SENSITIVE TO ELECTRONIC CLOUD
FOR NETRON- b is erratic with atomic number
SENSITIVE TO NEuTRON-> ISOTOPIC COMPOSITION

## Slide 15: The refractive index
The real part can be expressed as:
n = 1 – l2/2π * ρ
Since ρ is very small, n ~ 1
GRAZING INCIDENCE is a MUST for neutrons and X-rays
θ
qz
Notes: Critical angle is of a few milli radians
Using snells law cos angle critical = n cos (angulo trnasmitido o sea 0)
Neutron reflectivity measured around critical angle -
Gracing Xray reflectivity for angles below this great sensitivity thanks to the evanescence wave with penetration depth of a few nm.

## Slide 16: What’s the deal with bio-molecules?
WHY such dependency for protein/DNA as compared to lipid? H/D exchange!
NRW
Deuterated lipid/protein/DNA
6
5
4
3
2
1
0
Lipid head group

## Slide 17: The art of contrast matching
rair= 0
rD2O= 6.35
rwater can be adjusted by the ratio of H2O/D2O. The lipid chain can also be fully or partially deuterated.

## Slide 18: The art of contrast matching
rair= 0
rwater= 0

## Slide 19: The art of contrast matching
rair= 0
rwater= rheadgroup

## Slide 20: The art of contrast matching
rair= 0
rwater= rlipid 2

## Slide 21: The art of contrast matching
rair= 0
rwater= rair
By controlling the degree of D substitution in the lipid, the lipid can be contrast matched to the protein

## Slide 22: The art of contrast matching
Taken from http://rktchem..ox.ac.uk/research.html

## Slide 23: So now you should be ready for the real stuff!