Files:	 WINPREP90.EXE

WINPREP.INI

CsI.xy

CsCl.xy

c-ZnO.xy

Put them together in a separate directory.

Below are the 2θ-positions observed in a powder diffractogram of cubic CsI. The wavelength used was 1.54051 Å. Index the pattern and calculate the unit cell dimensions.

27.880

39.838

49.324

57.608

65.188

72.328

79.193

85.904

92.559

92.559

99.248

Start the WINPREP-program and open the c-ZnO.xy/CsCl/CsI.xy  file.

Zoom in on the first peak and do “Peak Fit/Fit Single Peak-Options”

Make sure to use the Cagliotti option.

Then start Fit

Say OK in the dialog box to save the result

Continue with the rest of the peaks (“Peak Fit/Fit Single Peak”)

Use Plot FWHM to see the result

Use Plot particle size to see the particle sizes calculated for each peak

Use Williamson-Hall to calculate size and stress/strain.

Do “Peak Search/Save peaks” to save to peak list

Do “Index/TREOR90”, put the unindexed lines to 0